# Check List

## Check for Residual Pressure peak design

All node pressure are OK

## Check for Residual Pressure fire design

All node pressure are OK

## Check for head loss per km peak design

The pipes that have high head loss per km are 1, 2, 3, 4, 5, 6, 7

## Check for head loss per km fire design

The pipes that have high head loss per km are 1, 2, 3, 4, 5

## Check for low velocity peak flow design

All velocity are OK

## Check for high velocity peak flow design

All velocity are OK

## Check for low velocity fire flow design

All velocity are OK

## Check for high velocity fire flow design

All velocity are OK