# Check List

## Check for Residual Pressure peak design

All node pressure are OK

## Check for Residual Pressure fire design

All node pressure are OK

## Check for head loss per km peak design

The pipes that have high head loss per km are 1, 8

## Check for head loss per km fire design

The pipes that have high head loss per km are 1

## Check for low velocity peak flow design

All velocity are OK

## Check for high velocity peak flow design

All velocity are OK

## Check for low velocity fire flow design

All velocity are OK

## Check for high velocity fire flow design

All velocity are OK