## Sheet1
Node | Building Type | No. of Unit | Demand/Unit (gpd) | Total Demand (gpd) | Peak Flow (LPS) | Fire Flow (LPS) | Ground Level (m) | HSL (m) | HGL(Peak Flow)(m) | HGL (Fire Flow) (m) | Residual Pressure (Peak Flow) (m) | Residual Pressure (Fire Flow) (m) | Average Flow (LPS) | Residual Pressure (Average Flow) (m) | HGL(Average Flow)(m)
1 | - | - | - | - | 25.00000 | 32.70000 | 32.763 | - | 50.000 | 50.000 | - | - | Not Run | - | Not Run
2 | - | - | - | 0.000 | 0.00000 | -0.00000 | 33.218 | 33.218 | 49.348 | 48.928 | 16.130 | 15.710 | Not Run | Not Run | Not Run
3 | - | - | - | 0.000 | -0.00000 | -0.00000 | 35.301 | 35.301 | 49.163 | 48.452 | 13.862 | 13.150 | Not Run | Not Run | Not Run
4 | - | - | - | 0.000 | -0.00000 | -0.00000 | 35.310 | 35.310 | 49.154 | 48.428 | 13.844 | 13.118 | Not Run | Not Run | Not Run
5 | - | - | - | 0.000 | -0.00000 | -0.00000 | 33.515 | 33.515 | 48.987 | 47.997 | 15.472 | 14.482 | Not Run | Not Run | Not Run
6 | - | - | - | 0.000 | -0.00000 | -22.70000 | 33.361 | 33.361 | 48.974 | 47.964 | 15.614 | 14.603 | Not Run | Not Run | Not Run
7 | - | - | - | 0.000 | -0.00000 | -0.00000 | 33.289 | 33.289 | 48.779 | 48.191 | 15.490 | 14.902 | Not Run | Not Run | Not Run
8 | - | - | - | -190,053.352 | -25.00000 | -10.00000 | 33.370 | 33.370 | 48.769 | 48.202 | 15.400 | 14.832 | Not Run | Not Run | Not Run